## Slide 1: DDS Debugging3
AD9910 in real experiment

## Slide 2: Ground Loop Problem1
2023/11/23 -> Profile signals are not maintained due to ground loop voltage?
Sequencer
PWR
GND
ArtyS7
PWR
GND
AD9910
PWR
GND
Oscilloscope
PWR
GND
PC GND
PC PWR
multitap1 PWR
multitap1 GND
multitap2 PWR
multitap2 GND
Profile Signal
DDS output
Large Ground Loop Voltage
Chassis
Chassis

## Slide 3: Ground Problem
Sequencer
PWR
GND
Device
PWR
GND
PC GND
PC PWR
multitap1 PWR
multitap1 GND
1. Large Current Change I
2. Mechanical Impact
(Human walks makes
induced voltage ~ 10V[1])
[1]ICHIKAWA, N. (2016). Investigation of human body potential measured by a non-contact measuring system. Industrial Health, 54(6), 542–549. https://doi.org/10.2486/indhealth.2016-0008
V
Chassis
Chassis

## Slide 4: Experiment condition
Sequencer
PWR
GND
IN
GND
OUT
Chassis
Chassis
PC GND
PC PWR
multitap1 GND
1
ArtyS7
PWR
GND
IN
GND
OUT
2
~1V
~6V
3
~1V
multitap1 PWR
V
N
Not Connected ?
Almost floating

## Slide 5: Professors's Solution(e.g. Chassis)
Sequencer
PWR
GND
Device
PWR
GND
COMMON GND
COMMON PWR
PC
PWR
GND
Multitap PWR
Multitap GND
Isolator

## Slide 6: For AD9910
Sequencer
PWR
GND
AD9910
PWR
GND
COMMON PWR
PC
PWR
GND
Multitap PWR
Multitap GND
Isolator
ArtyS7
PWR
GND
Isolator
Oscilloscope
PWR
GND
COMMON GND
(e.g. Experiment Desk)
파워 공급은 어떻게?
Is it dangerous?

## Slide 7: For long signal lines
-Use isolator?

## Slide 8: Artiq Power ground scheme
PWR
Kasli
AD9910
BNC
?
12V
GND

## Slide 9
https://electronics.stackexchange.com/questions/149643/physically-how-does-connecting-a-pcb-to-chassis-ground-reduce-noise

## Slide 10: 6.25MHz SPI Simulation

## Slide 11: Pin
VCC | GND | ja_3 CSB2 | ja_2 T_SRT | ja_1 T_STP | ja_0 GPI
VCC | GND | ja_7 SDIO1 | ja_6 SCK | ja_5 CSB1 | ja_4 SDIO2
VCC | GND | jb_3 IOUP2 | jb_2 P2[0] | jb_1 P2[1] | jb_0 P2[2]
VCC | GND | jb_7 P1[2] | jb_6 P1[1] | jb_5 P1[0] | jb_4 IOUP1
GND | PROF1[2] jb_7
GND | PROF1[1] jb_6
GND | PROF1[0] jb_5
GND | IO_UPDATE1 ja_7
GND | IO_UPDATE2
GND | PROF2[0]
GND | PROF2[1]
GND | PROF2[2]
GND | RESET1
GND | SDIO1 ja_6
GND | SCLK1 ja_3
GND | CSB1 ja_5
GND | CSB2
GND | SCLK2
GND | SDIO2
GND | RESET2

## Slide 12: Trigger mode
BRAM
FIFO
Trigger data write
command
Trigger start
Trigger ready
command
Trigger stop
Trigger data clear
command